- Appendix A

R12=x12+(y1+h)2=r02sin2q+(r0cosq+h)2In calculating the distance between offset deflection plates, we need only be concerned with a horizontal cross section.  Since the curvature of the two plates is (incorrectly) the same, they cannot be concentric in the Z dimension and still have a gap between them.  This cross section can be expressed at any point by two non-concentric circles.  We define the radius of the inner within this cross section to be R1, and the outer R2.  Note that this will be less than the radius of curvature for each plate, even at the bottom edge, since the plates are less than hemispherical.  We take the distance between the centers in the x-y plane to be h, which is constant at all cross sections (See diagram A-1).  The distance from the center of the larger circle to the edge of the smaller is named r0.  The separation S is thusS=R2−r0. If we set up our coordinate system such that the positive y-axis lies along the line of greatest separation, and the angle theta is the difference between that line and an arbitrary radial line from the center of the larger circle, we have

r0=−hcosθ±R12+h2cos2θ−h2This can be rewritten as a quadratic in r0  and solved to get

We have defined r0 as a positive quantity, so the negative sign on the radical can be dropped.  Putting this into our equation for the separation gives the equation

h

R1- h

R1

R2

x1

r0

y1

S



Figure A-1  Diagram of Non-Concentric Circles

S=hcosq+R2−R12+h2(cos2q−1)

For small h relative to R1 and R2, as is the case for the deflection plates, this separation can be approximated by the cosine wave

S=hcosq+(R2−R1)

This is the function that was fit to the K factor variation.

- Appendix B

Once the maximum outer plate radius was determined from the standard MCP size, the other radii and basic characteristics (geometric factor and energy resolution) had to be estimated to see if the geometry would have sufficient statistics for meaningful science.   This estimation was made by scaling of Centaur plates and model output from the Centaur/Pulsar spherical top hat analyzer (Sablik et al., 1989).  These instruments had the characteristics given in table B.1.

| Radii (cm) | r1=3.125 r2=3.375 r3=3.625 |
| --- | --- |
| G(E) @ 22.5 | 7.7x10-3 cm2 sr |
| E/E | 25.3% |

- Table B.1

Using an outer plate radius of 1.6 cm for MEDUSA, we have that  so

r1=3.125⋅0.474=1.48  and r3=3.625⋅0.474=1.72

- The geometric factor can be expressed as the geometrical open area of the aperture (cm2) and the product of the elevation and azimuth angles to approximate the solid opening angle (rad · rad  sr).  Since for a top hat instrument the azimuth angle is set by the number of radial acceptance sectors at the detector, it can be dropped, leaving the equation

- G(E) =  ·A

- where A is the area.  Figures B-1 and B-2 show how this area is calculated.  The vertical distance r is simply the vertical space between the inside edge of the outer deflection plate and the outside edge of the top hat plate.  The horizontal distance d is a chord across the surface of the circular aperture connecting the points at  on the edge of the aperture.  This is the effective width of the opening.  These parameters can be shown by geometry to be

- r = (R3 – R2) · cos               and      d = 2 · sin  · sin 

- giving a geometric factor of

- G(E) =   · (R3 – R2) · cos  · 2 · sin  · sin 

Dividing the new by the old gives

G(E)NG(E)O=Ω⋅ΔrN⋅dNΩ⋅ΔrO⋅dO

Expanding and canceling terms, we see that

G(E)N=G(E)O⋅(R3−R2)N⋅RmN(R3−R2)O⋅RmO

or

G(E)N  = G(E) · 0.228

which gives us a new geometric factor of 1.7x10-3 cm sr.  The energy resolution depends only on the ratios of the plate radii, so it is unchanged.

R2

R1

R3

r

a

b



RL

Figure B-1  Side View of Top Hat Plates

d

RL



d/2

Figure B-2  Top View of Aperture Opening

Appendix C

This appendix contains a sample of the processing code for the MEDUSA/PIA data structure.  The code is derived from a similar processing code written by Sandy Nugen at SwRI for the DMSP satellite program.  The following is the main section and one of the virtual instrument header/data writing subroutines (in this case, MEDUSA electrons).  The other virtual instrument subroutines are very similar.  Other subroutines not shown include STW to UT conversion software, which was modified from the Astrid-1 processing code, and various initialization and mathematical operations subroutines.

File 1: wrt_medusa.c

File 2: MDSE.c

/*********************************************************************/

/*                                                                   */

/*  Version: 2.2                                                     */

/*  Date: February 3, 1999                                           */

/*  Code Written By: Wayne Keith                                     */

/*                   Southwest Research Institute                    */

/*                   PO Drawer 28510                                 */

/*                   San Antonio, TX  78228                          */

/*                   Office: (210) 522-3868                          */

/*                   FAX: (210) 647-4325                             */

/*                   E-mail: waynek@swri.edu                         */

/*                                                                   */

/*  Purpose: This program reads the MEDUSA binary files and writes   */ /*  header and data idfs files.                                      */

/*                                                                   */

/*  Global Variable Definitions:                                     */

/*                                                                   */

/*    double ut_mjd2(int,int,long);  converts Universal Time in      */

/*    year, day of year, millisecond of day format to modified       */

/*    Julian day                                                     */

/*                                                                   */

/*    unsigned long stw_beg;         beginning Satellite Time Word   */

/*                                                                   */

/*    int empty     number of binary bites actually read (<0 means   */

/*                  failure)                                         */

/*                                                                   */

/*                                                                   */

/*********************************************************************/

#define MAIN

#define PROCESS_ID "MEDUSA"

#define RAD      57.295779513

#include <stdio.h>

#include <stdlib.h>

#include <string.h>

#include <sys/stat.h>

#include <sys/types.h>

#include <unistd.h>

#include <malloc.h>

#include <string.h>

#include <errno.h>

#include <math.h>

#include <fcntl.h>

#include "parse_config_old.h"

#include "idfs_time.h"

#include "medusa.h"

#include "constants.h"

/*********************************************************************/

/* MEDUSA/PIA structure version 1.2 (Oct 28, 1996) */

struct DATA {

unsigned long STW;                     /*Satellite Time (20 bits)*/

unsigned short pack_size;              /*Size of packed (compressed) format (bytes)*/

unsigned short err_elec;               /*Electron error if 1 else 0...*/

unsigned short err_ion;                /*Ion error (see above)*/

unsigned short err_pia;                /*Pia error (see above)*/

unsigned char counter;                 /*4 bit counter*/

unsigned short B[3];                   /*Magnetic field Bx,By & Bz*/

unsigned short valid_status;           /*1 = updated status word*/

unsigned short valid_elec;             /*Enabled electron sensors on=1*/

unsigned short valid_ion;              /*Enabled ions sensors off=0*/

unsigned short valid_pia;              /*Enabled pia sensors*/

unsigned char selected;                /*Zero if normal mode*/

unsigned char parallel_sector;         /*Pointer to parallel sensor*/

unsigned short status[16];             /*16 status words*/

unsigned char electrons[4][16][32];    /*Sweep data from el sensors*/

unsigned char ions[2][16][32];         /*Sweep data from i sensors*/

unsigned char pia1[4][64];             /*Sweep data from pia 1*/

unsigned char pia2[4][64];             /*Sweep data from pia 2*/

unsigned short pia3[64];               /*Sweep data from pia 3*/

};

/*********************************************************************/

double to_mjd(int,int,long);

double ut_mjd2(int,int,long);

unsigned long stw_beg;

int empty;

tim_t cur_time,prev_time,beg_time,end_time,status_time;

main(int argc, char **argv)

{

long spd;

int i,j,k,ctr,init_stw,n,pack_counter;

char bfilename[80], buf[80];

struct DATA data_rec;

unsigned short a1[2050], b1[1026], p1[514], p3[66], a2[64], b2[32];

unsigned short stat_up[16],power_stat[16],st[18],a3[387],b3[195];

unsigned long d1[25];

double secs,creation_mjd,cur_mjd,prev_mjd;

char config[MAX_FILENAME_LEN];

def_t *def_list;

double alt,cglat,cglong,mlt,lval,gei[3],vei[3],sun1[3],geo[3];

int eclipse;

/*

to be read in from config file

*/

static int no_files,time_tol,creation_year,creation_doy,creation_msod;

static medusa_data_set_t data_set;

/*

List of initial parameters required from the configuration file.

*/

static def_t def_init[]=

{

{".No_files",T_INT,(void *)&no_files,IS_REQUIRED},

{".Time_tolerance",T_INT,(void *)&time_tol,IS_REQUIRED},

{".rec_len",T_INT,(void *)&data_set.reclen,IS_REQUIRED},

{".file_off",T_INT,(void *)&data_set.file_off,IS_REQUIRED},

{".data_off",T_INT,(void *)&data_set.data_off,IS_REQUIRED},

{".config",T_STRING,(void *)MEDUSA_config,IS_REQUIRED},

{".data_path",T_STRING,(void *)MEDUSA_data_path,IS_REQUIRED},

{".time_refs",T_STRING,(void *)MEDUSA_time_refs,IS_REQUIRED},

{".elset",T_STRING,(void *)MEDUSA_elset,IS_REQUIRED},

{".igrf",T_STRING,(void *)MEDUSA_igrf,IS_REQUIRED},

{".year",T_INT,(void *)&creation_year,IS_REQUIRED},

{".doy",T_INT,(void *)&creation_doy,IS_REQUIRED},

{".msod",T_INT,(void *)&creation_msod,IS_REQUIRED},

{NULL,}

};

static def_t def_infile[]=

{

{".filename",T_STRING,NULL,IS_REQUIRED},

};

/*

if invalid input parameters, display syntax and exit.

*/

if (argc!=2)

{

fprintf (stderr,"Syntax: %s <config file>\n",argv[0]);

fflush(stderr);

exit(0);

}

strcpy (config,argv[1]);

/*

Get initial parameters from configuration file.  On error, report                                                    it and exit.

*/

if (parse_config_old(config,PROCESS_ID,def_init)<0)

{

fprintf (stderr,"%s: ERROR parsing config file %s (def_init)\n",PROCESS_ID,config);

fflush(stderr);

exit(0);

}

strcat(MEDUSA_data_path,"/");

printf( "MEDUSA config file: %s\n", MEDUSA_config);

/*

Build the infile config list.  On error, report it and exit.

*/

if ((def_list=(def_t *) calloc((unsigned)(no_files+1),sizeof(def_t)))==NULL)

{

fprintf (stderr,"%s: ERROR allocating space for file config list.\n",PROCESS_ID);

perror (PROCESS_ID);

fflush(stderr);

exit(0);

}

/*

Build the filename buffer of all the files to be processed.

*/

if ((data_set.file_buf=(char *)malloc((unsigned)(no_files*MAX_FILENAME_LEN)))==NULL)

{

fprintf (stderr,"%s: ERROR allocating space for filenames.\n",PROCESS_ID);

perror (PROCESS_ID);

fflush(stderr);

exit(0);

}

/*

Load the elements of deflist with the pointers to storage locations.

*/

data_set.infile = data_set.file_buf;

for (i=0;i<no_files;i++)

{

def_list[i] = def_infile[0];

def_list[i].value = (void *)data_set.infile;

data_set.infile += MAX_FILENAME_LEN;

}

def_list[no_files].param = NULL;

/*

read the config file to get the input files to process.  On error,

report it and exit.

*/

if (parse_config_old(config,PROCESS_ID,def_list)<0)

{

fprintf (stderr,"%s: ERROR parsing config file %s (def_infile)\n",PROCESS_ID,config);

fflush(stderr);

exit(0);

}

free (def_list);

/*

Set init to initialize each instrument, i.e. read config files, initialize flags,...

*/

init = 1;

mdse(cur_time,(unsigned short *)NULL);

mdsi(cur_time,(unsigned short *)NULL);

pia1_2(cur_time,(unsigned short *)NULL);

/* pia3(cur_time,(unsigned short *)NULL); */

oa(cur_time,(unsigned short *)NULL);

tempvolt(cur_time,(unsigned short *)NULL);

/* mag_comm(cur_time,(unsigned short *)NULL); */

toggle(cur_time,(unsigned short *)NULL);

magn(cur_time,(unsigned short *)NULL);

sel_e(cur_time,(unsigned short *)NULL);

sel_i(cur_time,(unsigned short *)NULL);

if (quit) exit(0);

init = 0;

/*

Loop over opening, reading, and processing data until signalled to stop.

*/

data_set.infile = data_set.file_buf;

for (n=0;n<no_files;n++)

{

/*

Initialize current and previous time structures and other variables that must be reset for each new file.

*/

cur_time.year = 0;

cur_time.day = 0;

cur_time.ms = 0;

prev_time = cur_time;

status_time = cur_time;

for (i=0; i<16; ++i) st[i] = 0;

for (i=0; i<16; ++i) power_stat[i] = 1;

ctr = 0;

data_set.infile[MAX_FILENAME_LEN-1] = '\0';

/*

Open file.  On error, report it and break out of looping

through the files.

*/

if ((data_set.fd=open(data_set.infile,O_RDONLY,0))==-1)

{

fprintf (stderr,"%s: ERROR opening %s for input.\n",PROCESS_ID,data_set.infile);

perror (PROCESS_ID);

fflush(stderr);

break;

}

/*********************************************************************/  /* Loop through reading the data records and read them.  terminate   */

/* the program when they all have been read.                         */

/*********************************************************************/

init_stw=1;

/*

Find mjd of data file creation so that proper STW to UT line

can be used.

*/

creation_mjd = ut_mjd2(creation_year,creation_doy,creation_msod);

while (!quit&&!Los)

{

if ((empty=read(data_set.fd,(char*)&data_rec,data_set.reclen))!= data_set.reclen)

{

Los = 1;

if (empty<0)

{

fprintf (stderr,"%s: ERROR reading data record.\n",PROCESS_ID);

perror (PROCESS_ID);

fflush(stderr);

}

continue;

}

/*

This skips the often-bad first record

*/

if (ctr!=0)

{

/*

Initialize time

*/

if (init_stw)

{

set_stw_factor(creation_mjd);

}

init_stw=0;

/*

get time of current record

*/

prev_time = cur_time;

stw_to_ut(data_rec.STW);

/*

Check time and skip record if time is bad

*/

cur_mjd = ut_mjd2(cur_time.year,cur_time.day,cur_time.ms);

if (prev_time.year==0)

{

prev_time = cur_time;

}

prev_mjd = ut_mjd2(prev_time.year,prev_time.day,prev_time.ms);

/*  if (cur_mjd >= prev_mjd && cur_mjd - prev_mjd < 0.0833)    2 hours */

if (cur_mjd >= prev_mjd && cur_mjd - prev_mjd < 0.2500) /* 6 hours */

{

/*

Get OA data

*/

Astrid2Orbit2(cur_time.year,cur_time.day,cur_time.ms,gei,vei,geo,sun1,&cglat,&cglong,&lval,&alt,&mlt,&eclipse);

d1[0]=sddas_32_float( alt);

d1[1]=sddas_32_float(  cglat);

d1[2]=sddas_32_float(  cglong);

d1[3]=sddas_32_float(  atan(geo[2]/sqrt(geo[1]*geo[1]+\

geo[0]*geo[0]))*RAD);

d1[4]=sddas_32_float(  atan2(geo[1],geo[0])*RAD);

d1[5]=sddas_32_float(  mlt);

d1[6]=sddas_32_float(  lval);

d1[7]=sddas_32_float(  eclipse);

d1[8]=sddas_32_float(  gei[0]);

d1[9]=sddas_32_float(  gei[1]);

d1[10]=sddas_32_float(  gei[2]);

d1[11]=sddas_32_float(  vei[0]);

d1[12]=sddas_32_float(  vei[1]);

d1[13]=sddas_32_float(  vei[2]);

d1[14]=sddas_32_float(  sun1[0]);

d1[15]=sddas_32_float(  sun1[1]);

d1[16]=sddas_32_float(  sun1[2]);

d1[17]=sddas_32_float(  geo[0]);

d1[18]=sddas_32_float(  geo[1]);

d1[19]=sddas_32_float(  geo[2]);

/*

This bit was for Astrid-1 attitude, for Astrid-2 the

spin_axis_RA and declination comes from the star camera

telemetry. How do we include that?

*/

/*

d1[20]=sddas_32_float(  spin_axis_RA);

d1[21]=sddas_32_float(  spin_axis_Declination);

d1[22]=sddas_32_float(  RAD*acos((sun[0]*cos(spin_axis_RA/RAD)+\

sun[1]*sin(spin_axis_RA/RAD))*cos(spin_axis_Declination/RAD)+\

sun[2]*sin(spin_axis_Declination/RAD)));

d1[23]=sddas_32_float(  RAD*acos( (double) (high.mag_Z[0]-\

48004)/sqrt((high.mag_X[0]-48050)*(high.mag_X[0]-48050)+(high.mag_Y[0]-\

48050)*(high.mag_Y[0]-48050)+(high.mag_Z[0]-48004)*(high.mag_Z[0]-48004))));

d1[24]=sddas_32_float(  spinp);

*/

/*

Status data

valid_status word is expanded into an array. if first

element is valid, reset status array and record time.

Status is writen to data file after last element is filled.

*/

bin_expand (data_rec.valid_status,1,0,stat_up);

if (stat_up[0]==1)

{

for (i=0; i<18; ++i) st[i] = 0;

pack_counter = 0;

status_time = cur_time;

}

/*

record only updated status words.  Should be either 1

or 16 per data format.  Also, accumulate pack_size

for averaging.

*/

for (i=0; i<16; ++i)

{

if (stat_up[i]==1) st[i] = data_rec.status[i];

}

st[17] = st[17] + data_rec.pack_size;

pack_counter++;

/*

if status array is full, set last data element to 1

to toggle data latency

*/

if (data_rec.valid_status==65535)

{

st[16] = 1;

}

else

{

st[16] = 0;

}

/*

Electron normal data

*/

if (data_rec.selected==0)

{

for (i=0; i<4; ++i)

{

for (j=0; j<16; ++j)

{

for (k=0; k<32; ++k)

{

a1[32*j + 32*16*i + k] = data_rec.electrons[i][j][k];

if (k==0)

{

a2[16*i+j] = a1[32*j + 32*16*i];

a1[32*j + 32*16*i] = 0;

}

}

}

}

a1[2048] = data_rec.err_elec;

a1[2049] = data_rec.valid_elec;

}

/*

Electron selected data

*/

if (data_rec.selected==1)

{

for (i=0; i<4; ++i)

{

for (j=0; j<3; ++j)

{

for (k=0; k<32; ++k)

{

a3[32*j + 32*3*i + k] = data_rec.electrons[i][j][k];

if (k==0)

{

a3[32*j + 32*3*i] = 0;

}

}

}

}

a3[384] = data_rec.parallel_sector;

a3[385] = data_rec.err_elec;

a3[386] = data_rec.valid_elec;

}

/*

Ion normal data

*/

if (data_rec.selected==0)

{

for (i=0; i<2; ++i)

{

for (j=0; j<16; ++j)

{

for (k=0; k<32; ++k)

{

b1[32*j + 32*16*i + k] = data_rec.ions[i][j][k];

if (k==0)

{

b2[16*i+j] = b1[32*j + 32*16*i];

b1[32*j + 32*16*i] = 0;

}

}

}

}

b1[1024] = data_rec.err_ion;

b1[1025] = data_rec.valid_ion;

}

/*

Ion selected data

*/

if (data_rec.selected==1)

{

for (i=0; i<2; ++i)

{

for (j=0; j<3; ++j)

{

for (k=0; k<32; ++k)

{

b3[32*j + 32*3*i + k] = data_rec.ions[i][j][k];

if (k==0)

{

b3[32*j + 32*3*i] = 0;

}

}

}

}

b3[192] = data_rec.parallel_sector;

b3[193] = data_rec.err_ion;

b3[194] = data_rec.valid_ion;

}

/*

pia1 and pia2 data

*/

for (j=0; j<64; ++j)

{

for (i=0; i<4; ++i)

{

p1[i + 8*j] = data_rec.pia1[i][j];

p1[4 + i + 8*j] = data_rec.pia2[i][j];

}

}

p1[512] = data_rec.err_pia;

p1[513] = data_rec.valid_pia;

/*

pia3 data

*/

for (j=0; j<64; ++j)

{

p3[j] = data_rec.pia3[j];

}

p3[64] = data_rec.err_pia;

p3[65] = data_rec.valid_pia;

/*

send data to H&D writing subroutines

only write appropriate files, and only if the

corresponding instrument is turned on

*/

if (stat_up[6]==1)

{

bin_expand (data_rec.status[6],1,0,power_stat);

}

if (data_rec.selected==0)

{

if (power_stat[0]==1) mdse(cur_time,a1);

if (power_stat[1]==1) mdsi(cur_time,b1);

if (power_stat[2]==1) pia1_2(cur_time,p1);

/* if (power_stat[2]==1) pia3(cur_time,p3); */

}

if (data_rec.selected==1)

{

if (power_stat[0]==1) sel_e(cur_time,a3);

if (power_stat[1]==1) sel_i(cur_time,b3);

if (power_stat[2]==1) pia1_2(cur_time,p1);

}

oa(cur_time,d1);

magn(cur_time,data_rec.B);

/*

write status only after last element is filled.  If

the status_time hasn't been set yet (ie, start of

file, no first element writen yet) subtract dat

latency less one frame (3.75 seconds) from milisecond

of day.  If time is less than 3.75 seconds after

change of day, reset day to previous.  Note: if first

and last elements are both updated in the same frame,

status_time = cur_time always.  Also, pack_size is

averaged by dividing by the number of elements

accumulated, pack_counter.

*/

if (stat_up[15]==1)

{

if (status_time.year==0)

{

status_time = cur_time;

if (status_time.ms<3750)

{

status_time.day=status_time.day-1;

status_time.ms=status_time.ms+86400000;

}

status_time.ms=status_time.ms-3750;

}

st[17] = st[17]/pack_counter;

toggle(status_time,st);

tempvolt(status_time,st);

/*                mag_comm(status_time,st);  */

}

}

else cur_time = prev_time;

}

ctr++;

}

/*

if status array part-full, write a record with remainder

*/

if (stat_up[15]!=1)

{

st[17] = st[17]/pack_counter;

tempvolt(status_time,st);

/*       mag_comm(status_time,st); */

toggle(status_time,st);

}

/*********************************************************************/

/* End to data in that file.                                         */ /*********************************************************************/

Los=1;

mdse(cur_time,(unsigned short *)NULL);

mdsi(cur_time,(unsigned short *)NULL);

pia1_2(cur_time,(unsigned short *)NULL);

/*    pia3(cur_time,(unsigned short *)NULL); */

oa(cur_time,(unsigned short *)NULL);

tempvolt(status_time,(unsigned short *)NULL);

/*    mag_comm(status_time,(unsigned short *)NULL);  */

toggle(status_time,(unsigned short *)NULL);

magn(cur_time,(unsigned short *)NULL);

sel_e(cur_time,(unsigned short *)NULL);

sel_i(cur_time,(unsigned short *)NULL);

close(data_set.fd);

printf("\nEOF\n");

printf("%i",ctr);

/*

Los means EOF, reset and continue with the next file.

*/

if (Los) Los = 0;

/*

On quit, break out of looping through the files and quit.

*/

if (quit) break;

/*

Point to next input files.

*/

data_set.infile += MAX_FILENAME_LEN;

}

fprintf (stdout,"\n\n%s: Number of files for input: %d\n",PROCESS_ID,no_files);

fprintf (stdout,"%s: Number of files processed: %d\n",PROCESS_ID,n);

/*

Free buffers.

*/

free (data_set.file_buf);

}

/*******************************************************************/

#include <stdio.h>

#include <stdlib.h>

#include <string.h>

#include <values.h>

#include <ctype.h>

#include <fcntl.h>

#include <errno.h>

#include <malloc.h>

#include <math.h>

#include "parse_config_old.h"

#include "idfs_time.h"

#include "medusa.h"

#include "MDSE.h"

#define NO 0

#define YES 1

/*

written for ssj4, modified for use with medusa by Wayne Keith

currently set to run under wrt_med.c

*/

mdse (buf_time,buf)

tim_t buf_time;

unsigned short *buf;

{

int i,j,k,data_ind;

long delta_time;

tim_t time;

float *fbuf;

char inst_id[5];

unsigned short err_qual[16];

unsigned short val_qual[16];

static def_t definit[]=

{

{".rec_per_file", T_INT,(void *)&mdse_rec_per_file, IS_REQUIRED},

{".msec_per_file",T_INT,(void *)&mdse_msec_per_file,IS_REQUIRED},

{".delta_time",   T_INT,(void *)&mdse_delta_time,   IS_REQUIRED},

{NULL,},

};

/*

if init, read config file, initialize global variables, and

return.

*/

if (init)

{

sprintf (inst_id,"MDSE\0");

if (parse_config_old(MEDUSA_config,inst_id,definit)<0)

{

fprintf (stderr,"%s: ERROR in parse_config_old %s\n",inst_id,MEDUSA_config);

fflush (stderr);

quit = 1;

return;

}

#ifdef DEBUG

fprintf(stdout,"%s: hfr_len   = %d\n",inst_id,sizeof(mdse_hdr));

fprintf(stdout,"%s: data_len  = %d\n",inst_id,sizeof(mdse_dat));

fprintf(stdout,"%s: data_size = %d\n",inst_id,

sizeof(mdse_dat.data_array));

fflush(stdout);

#endif

return;

}

if (buf!=NULL)

{

/*

Correct buf time

*/

addms (buf_time,mdse_delta_time,&time);

/*

If Lod and data record is partially filled, write out record.

*/

if (mdse_sen_on&&Lod&&(mdse_data_ind!=0))

write_mdse();

/*

If time to open a new file, write out an EOF record and close

data/header files.

*/

if ((mdse_sen_on)&&

((mdse_rec_per_file>0)&&(mdse_fd[1].norecs>=mdse_rec_per_file)))

{

subtract_times (time,mdse_fd[0].start_time,&delta_time);

if (delta_time>=mdse_msec_per_file)

{

if (mdse_data_ind!=0)

write_mdse();

mdse_dat.nss = 1;

mdse_dat.hdr_off[0] = IS_EOF;

write(mdse_fd[1].fd,(char *)&mdse_dat,DATA_LEN);

close_files(mdse_fd,&mdse_hdr_array,mdse_no_buf_hdr,inst_id);

mdse_sen_on = 0;

}

}

/*

If files are not opened, then initialize, and open the files.

On error, set the quit flag and return.

*/

if (!mdse_sen_on)

{

init_mdse();

sprintf (inst_id,"MDSE");

if (open_files(inst_id,time,MEDUSA_data_path,mdse_fd)==-1)

{

fprintf (stderr,"%s: ERROR opening header and data files.\n",

inst_id);

fflush(stderr);

quit = 1;

return;

}

mdse_sen_on = 1;

}

/*

Header

*/

if (mdse_data_ind==0)

{

mdse_hdr.year = time.year;

mdse_hdr.day = time.day;

mdse_dat.dr_time = time.ms;

}

bin_expand (buf[2048],1,0,err_qual);

bin_expand (buf[2049],0,2,val_qual);

for(i=0;i<mdse_hdr.n_sen;i++)

{

mdse_hdr.d_qual[i] = 0;

if (err_qual[i] != 0) mdse_hdr.d_qual[i] = err_qual[i];

if (val_qual[i] != 0) mdse_hdr.d_qual[i] = val_qual[i];

}

/*

Data

*/

for (k=0;k<MAX_NSS;k++)

{

for (i=0;i<mdse_hdr.n_sen;i++)

{

for (j=0;j<mdse_hdr.n_sample;j++)

{

mdse_dat.data_array[mdse_data_ind++] = buf[512*k+32*i+j];

}

}

}

/*

Write header record and get hdr_off.  On error, set the quit

flag and return.  Next time through, the files will be closed.

*/

for (mdse_dat.nss=0;mdse_dat.nss<MAX_NSS;mdse_dat.nss++)

{

if ((mdse_dat.hdr_off[mdse_dat.nss]=write_hdr(mdse_fd[0],

(unsigned char *)&mdse_hdr,&mdse_hdr_array,&mdse_fil_offset,

&mdse_no_buf_hdr,inst_id))==-1)

{

fprintf (stderr,"%s: ERROR writing header record.\n",inst_id);

fflush(stderr);

quit = 1;

return;

}

}

/*      mdse_dat.nss++; */

/*

write data record

*/

if (mdse_dat.nss==MAX_NSS)

write_mdse();

}

/*

on LOS or quit, close files and return.

*/

if ((Los||quit)&&(mdse_sen_on))

{

if (mdse_data_ind!=0)

write_mdse();

mdse_dat.nss = 1;

mdse_dat.hdr_off[0] = IS_EOF;

write(mdse_fd[1].fd,&mdse_dat,DATA_LEN);

close_files(mdse_fd,&mdse_hdr_array,mdse_no_buf_hdr,inst_id);

mdse_sen_on = 0;

}

}

/*********************************************************************/

init_mdse ()

{

int i;

/*

Initialize header record.

*/

mdse_hdr.hdr_len = HDR_LEN;

mdse_hdr.year = 0;                     /* DATA */

mdse_hdr.day = 0;                      /* DATA */

mdse_hdr.time_units = -9;

mdse_hdr.i_mode = I_MODE;

mdse_hdr.data_accum = E_MEDUSA_FRAME_TIME;

mdse_hdr.data_lat = 0;

mdse_hdr.swp_reset = 0;

mdse_hdr.sen_reset = 0;

mdse_hdr.n_sen = N_SEN;

mdse_hdr.n_sample = N_SAMPLE;                 /* DATA */

#if (SMP_ID==2)

mdse_hdr.samp_index = 0;

#else

for (i=0;i<N_SAMPLE;i++)

mdse_hdr.samp_index[i] = i;

#endif

for (i=0;i<N_SEN;i++)

mdse_hdr.sensor_index[i] = i;

for (i=0;i<N_SEN;i++)

mdse_hdr.d_qual[i] = 0;

#if (I_MODE>0)

for (i=0;i<I_MODE;i++)

mdse_hdr.mode_index[i] = 0;

#endif

/*

Initialize data structure.

*/

mdse_dat.dr_time = -1;                 /* DATA */

mdse_dat.spin = 0;

mdse_dat.sun_sen = 0;

for (i=0;i<MAX_NSS;i++)

mdse_dat.hdr_off[i] = -1;           /* DATA */

mdse_dat.nss = 0;

for (i=0;i<DATA_SIZE;i++)

mdse_dat.data_array[i] = 0;         /* DATA */

/*

Initialize other variables.

*/

mdse_hdr_array = NULL;

mdse_fil_offset = 0;

mdse_no_buf_hdr = 0;

mdse_data_ind = 0;

}

/*********************************************************************/

write_mdse()

{

int i;

for (i=mdse_data_ind;i<DATA_SIZE;i++)

mdse_dat.data_array[i] = 0;

write(mdse_fd[1].fd,(char *)&mdse_dat,DATA_LEN);

mdse_fd[1].norecs++;

mdse_data_ind = 0;

for (i=0;i<mdse_dat.nss;i++)

mdse_dat.hdr_off[i] = -1;

mdse_dat.nss = 0;

}

/*********************************************************************/

Appendix D

Once data has been processed into header and data files for SDDAS, a virtual instrument description file, or VIDF is written.  This file contains all the necessary information needed to decode the data files and convert into the various science units for each virtual instrument.  In the case of MEDUSA, look-up tables are used to convert the particle data from an 8-bit value into counts per accumulation time and to apply various calibration numbers.  An example VIDF has been included in this Appendix.  This file is for the MEDUSA electrons, which uses the virtual instrument name MDSE.

File 1: MDSE19990081117V

t  Astrid                                            /* mission      */

t  Astrid-2                                          /* spacecraft   */

t  MEDUSA Electron analizer                          /* exp_desc     */

t  16 Point Electron Spectra                         /* inst_desc    */

m  5 1                                               /* contact      */

t  David Winningham                                  /* 00000        */

t  Southwest Research Institute                      /* 00001        */

t  6220 Culebra Road                                 /* 00002        */

t  San Antonio, Texas 78284                          /* 00003        */

t  david@dews1.space.swri.edu                        /* 00004        */

s  2                                                 /* num_comnts   */

m  2 1                                               /* comments     */

t    TABLE 0:  center energies (eV)                  /* 00000 */

t    TABLE 1:  raw counts/accumulation               /* 00001 */

s  1999                                              /* ds_year      */

s  8                                                 /* ds_day       */

l  40620001                                          /* ds_msec      */

s  0                                                 /* ds_usec      */

s  2030                                              /* de_year      */

s  1                                                 /* de_day       */

l  0                                                 /* de_msec      */

s  0                                                 /* de_usec      */

b  1                                                 /* smp_id       */

b  2                                                 /* sen_mode     */

b  3                                                 /* n_qual       */

b  0                                                 /* cal_sets     */

b  2                                                 /* num_tbls     */

b  0                                                 /* num_consts   */

b  0                                                 /* status       */

b  0                                                 /* pa_defined   */

s  16                                                /* sen          */

s  32                                                /* swp_len      */

s  4                                                 /* max_nss      */

l  2080                                              /* data_len     */

b  0                                                 /* fill_flg     */

n                                                    /* fill value   */

b  0                                                 /* da_method    */

n                                                    /* status_names */

n                                                    /* states       */

m  16 1                                              /* sen_name     */

t  MEDUSA Electron energy analizer - sector  0       /* 00000        */

t  MEDUSA Electron energy analizer - sector  1       /* 00001        */

t  MEDUSA Electron energy analizer - sector  2       /* 00002        */

t  MEDUSA Electron energy analizer - sector  3       /* 00003        */

t  MEDUSA Electron energy analizer - sector  4       /* 00004        */

t  MEDUSA Electron energy analizer - sector  5       /* 00005        */

t  MEDUSA Electron energy analizer - sector  6       /* 00006        */

t  MEDUSA Electron energy analizer - sector  7       /* 00007        */

t  MEDUSA Electron energy analizer - sector  8       /* 00008        */

t  MEDUSA Electron energy analizer - sector  9       /* 00009        */

t  MEDUSA Electron energy analizer - sector 10       /* 00010        */

t  MEDUSA Electron energy analizer - sector 11       /* 00011        */

t  MEDUSA Electron energy analizer - sector 12       /* 00012        */

t  MEDUSA Electron energy analizer - sector 13       /* 00013        */

t  MEDUSA Electron energy analizer - sector 14       /* 00014        */

t  MEDUSA Electron energy analizer - sector 15       /* 00015        */

n                                                    /* cal_names    */

m  3 1                                               /* qual_name    */

t  Good data                                         /* 00000        */

t  Error uncompressing data                          /* 00001        */

t  Bad Data                                          /* 00002        */

n                                                    /* pa_format    */

n                                                    /* pa_project   */

n                                                    /* pa_mission   */

n                                                    /* pa_exper     */

n                                                    /* pa_inst      */

n                                                    /* pa_vinst     */

n                                                    /* pa_bxbybz    */

n                                                    /* pa_apps      */

n                                                    /* num_pa_tbls  */

n                                                    /* pa_opers     */

m  16 4                                              /* d_type       */

b            0          0          0          0      /* 00000-00003  */

b            0          0          0          0      /* 00004-00007  */

b            0          0          0          0      /* 00008-00011  */

b            0          0          0          0      /* 00012-00015  */

m  16 4                                              /* tdw_len      */

b            8          8          8          8      /* 00000-00003  */

b            8          8          8          8      /* 00004-00007  */

b            8          8          8          8      /* 00008-00011  */

b            8          8          8          8      /* 00012-00015  */

m  16 4                                              /* sen_status   */

b            1          1          1          1      /* 00000-00003  */

b            1          1          1          1      /* 00004-00007  */

b            1          1          1          1      /* 00008-00011  */

b            1          1          1          1      /* 00012-00015  */

m  16 4                                              /* time_off     */

l            0          0          0          0      /* 00000-00003  */

l            0          0          0          0      /* 00004-00007  */

l            0          0          0          0      /* 00008-00011  */

l            0          0          0          0      /* 00012-00015  */

n                                                    /* cal_use      */

n                                                    /* cal_wlen     */

n                                                    /* cal_target   */

l  -16                                               /* tbl_sca_sz   */

l  32                                                /* tbl_ele_sz   */

b  0                                                 /* tbl_type     */

s 1                                                  /* num comnts   */

m 1 1                                                /* tbl_desc     */

t  This table contains the center energies in eV     /* 00000        */

b  2                                                 /* tbl_var      */

b  1                                                 /* tbl_expand   */

l 0                                                  /* crit_act_ele */

n                                                    /* crit_status  */

n                                                    /* crit_sen_off */

n                                                    /* crit_offs    */

m  16 4                                              /* tbl_fmt      */

b            0          0          0          0      /* 00000-00003  */

b            0          0          0          0      /* 00004-00007  */

b            0          0          0          0      /* 00008-00011  */

b            0          0          0          0      /* 00012-00015  */

m  16 4                                              /* tbl_off      */

l            0          0          0          0      /* 00000-00003  */

l            0          0          0          0      /* 00004-00007  */

l            0          0          0          0      /* 00008-00011  */

l            0          0          0          0      /* 00012-00015  */

m  16 4                                              /* tbl_sca      */

b           -2         -2         -2         -2      /* 00000-00003  */

b           -2         -2         -2         -2      /* 00004-00007  */

b           -2         -2         -2         -2      /* 00008-00011  */

b           -2         -2         -2         -2      /* 00012-00015  */

m  32 4                                              /* tbl          */

l     10000000    2238400    1691400    1278100      /* 00000-00003  */

l       965400     729900     551500     416500      /* 00004-00007  */

l       314700     238100     179700     135600      /* 00008-00011  */

l       102500      77900      58400      44100      /* 00012-00015  */

l        33700      25300      18800      14300      /* 00016-00019  */

l        11000       8400       6500       5200      /* 00020-00023  */

l         4500       3900       3200       2600      /* 00024-00027  */

l         1900       1300        600        100      /* 00028-00031  */

l  -16                                               /* tbl_sca_sz   */

l  256                                               /* tbl_ele_sz   */

b  0                                                 /* tbl_type     */

s 2                                                  /* num comnts   */

m 2 1                                                /* tbl_desc     */

t  This table contains the decompress from           /* 00000        */

t  telemetry to counts per acumulation period        /* 00001        */

b  0                                                 /* tbl_var      */

b  1                                                 /* tbl_expand   */

l 0                                                  /* crit_act_ele */

n                                                    /* crit_status  */

n                                                    /* crit_sen_off */

n                                                    /* crit_offs    */

m  16 4                                              /* tbl_fmt      */

b            0          0          0          0      /* 00000-00003  */

b            0          0          0          0      /* 00004-00007  */

b            0          0          0          0      /* 00008-00011  */

b            0          0          0          0      /* 00012-00015  */

m  16 4                                              /* tbl_off      */

l            0          0          0          0      /* 00000-00003  */

l            0          0          0          0      /* 00004-00007  */

l            0          0          0          0      /* 00008-00011  */

l            0          0          0          0      /* 00012-00015  */

m  16 4                                              /* tbl_scale    */

b           -1         -1         -1         -1      /* 00000-00003  */

b           -1         -1         -1         -1      /* 00004-00007  */

b           -1         -1         -1         -1      /* 00008-00011  */

b           -1         -1         -1         -1      /* 00012-00015  */

m  256 5                                             /* tbl          */

l            0       10       20       30       40   /* 00000-00004  */

l           50       60       70       80       90   /* 00005-00009  */

l          100      110      120      130      140   /* 00010-00014  */

l          150      165      175      185      195   /* 00015-00019  */

l          205      215      225      235      245   /* 00020-00024  */

l          255      265      275      285      295   /* 00025-00029  */

l          305      315      330      350      370   /* 00030-00034  */

l          390      410      430      450      470   /* 00035-00039  */

l          490      510      530      550      570   /* 00040-00044  */

l          590      610      630      660      700   /* 00045-00049  */

l          740      780      820      860      900   /* 00050-00054  */

l          940      980     1020     1060     1100   /* 00055-00059  */

l         1140     1180     1220     1260     1320   /* 00060-00064  */

l         1400     1480     1560     1640     1720   /* 00065-00069  */

l         1800     1880     1960     2040     2120   /* 00070-00074  */

l         2200     2280     2360     2440     2520   /* 00075-00079  */

l         2640     2800     2960     3120     3280   /* 00080-00084  */

l         3440     3600     3760     3920     4080   /* 00085-00089  */

l         4240     4400     4560     4720     4880   /* 00090-00094  */

l         5040     5280     5600     5920     6240   /* 00095-00099  */

l         6560     6880     7200     7520     7840   /* 00100-00104  */

l         8160     8480     8800     9120     9440   /* 00105-00109  */

l         9760    10080    10560    11200    11840   /* 00110-00114  */

l        12480    13120    13760    14400    15040   /* 00115-00119  */

l        15680    16320    16960    17600    18240   /* 00120-00124  */

l        18880    19520    20160    21120    22400   /* 00125-00129  */

l        23680    24960    26240    27520    28800   /* 00130-00134  */

l        30080    31360    32640    33920    35200   /* 00135-00139  */

l        36480    37760    39040    40320    42240   /* 00140-00144  */

l        44800    47360    49920    52480    55040   /* 00145-00149  */

l        57600    60160    62720    65280    67840   /* 00150-00154  */

l        70400    72960    75520    78080    80640   /* 00155-00159  */

l        84480    89600    94720    99840   104960   /* 00160-00164  */

l       110080   115200   120320   125440   130560   /* 00165-00169  */

l       135680   140800   145920   151040   156160   /* 00170-00174  */

l       161280   168960   179200   189440   199680   /* 00175-00179  */

l       209920   220160   230400   240640   250880   /* 00180-00184  */

l       261120   271360   281600   291840   302080   /* 00185-00189  */

l       312320   322560   337920   358400   378880   /* 00190-00194  */

l       399360   419840   440320   460800   481280   /* 00195-00199  */

l       501760   522240   542720   563200   583680   /* 00200-00204  */

l       604160   624640   645120   675840   716800   /* 00205-00209  */

l       757760   798720   839680   880640   921600   /* 00210-00214  */

l       962560  1003520  1044480  1085440  1126400   /* 00215-00219  */

l      1167360  1208320  1249280  1290240  1351680   /* 00220-00224  */

l      1433600  1515520  1597440  1679360  1761280   /* 00225-00229  */

l      1843200  1925120  2007040  2088960  2170880   /* 00230-00234  */

l      2252800  2334720  2416640  2498560  2580480   /* 00235-00239  */

l      2703360  2867200  3031040  3194880  3358720   /* 00240-00244  */

l      3522560  3686400  3850240  4014080  4177920   /* 00245-00249  */

l      4341760  4505600  4669440  4833280  4997120   /* 00250-00254  */

l      5160960                                       /* 00255        */

Appendix E

The final file that must be developed for each virtual instrument in order to be used in SDDAS is the Plot Information and Description File, or PIDF.  This file contains all the units that are defined for each sensor, and which VIDF tables must be used to convert to each unit.  This PIDF file is for the MDSE virtual instrument.

File 1: MDSE.pidf.v2

pidf v2_MDSE {

$*********************************************************************

float version = 2.0;                                 $$ version

string institution = "IRF/SwRI";                     $$ institute

string project = "Astrid";                           $$ project

string mission = "Astrid-2";                         $$ mission

string experiment = "MEDUSA/PIA";                    $$ experiment

string instrument = "MEDUSA";                        $$ instrument

string vinst = "MDSE";                               $$ vinst

$*********************************************************************

int num_groups = 16;                                 $$ no. groups

string group_name = "MEDUSA Electron -sector 0";     $$ group names

string group_name = "MEDUSA Electron -sector 1";     $$ group names

string group_name = "MEDUSA Electron -sector 2";     $$ group names

string group_name = "MEDUSA Electron -sector 3";     $$ group names

string group_name = "MEDUSA Electron -sector 4";     $$ group names

string group_name = "MEDUSA Electron -sector 5";     $$ group names

string group_name = "MEDUSA Electron -sector 6";     $$ group names

string group_name = "MEDUSA Electron -sector 7";     $$ group names

string group_name = "MEDUSA Electron -sector 8";     $$ group names

string group_name = "MEDUSA Electron -sector 9";     $$ group names

string group_name = "MEDUSA Electron -sector 10";    $$ group names

string group_name = "MEDUSA Electron -sector 11";    $$ group names

string group_name = "MEDUSA Electron -sector 12";    $$ group names

string group_name = "MEDUSA Electron -sector 13";    $$ group names

string group_name = "MEDUSA Electron -sector 14";    $$ group names

string group_name = "MEDUSA Electron -sector 15";    $$ group names

int plot_avail_flag = 0x3;                           $$ plot avail.

int data_type_mask = 0x19;                           $$ Types

int instrument_dep = 0x1;                            $$ avg over

float scan_min = 1.0;                                $$ energy avg

float scan_max = 18363.0;                            $$ energy avg

int num_bin_sets = 0;                                $$ no. bin set

$*********************************************************************

int num_units = 4;                                   $$ no. units

struct Unit0 {

$--------------------UNITS 00-----------------------------------------

int id = 1;                                      $$ units id

float min = 0.0;                                 $$ min/max

float max = 255.0;                               $$ min/max

int unit_scaling = 1;                            $$ lin/log

string unit_label = "Dimensionless";             $$ unit label

string long_description = "Telemetry";           $$ long desc.

string short_description = "Raw";                $$ short desc.

int num_tables = 0;                              $$ no. tables

};

struct Unit1 {

$--------------------UNITS 01-----------------------------------------

int id = 9;                                      $$ units id

float min = 1.0;                                 $$ min/max

float max = 2.0e4;                               $$ min/max

int unit_scaling = 2;                            $$ lin/log

string unit_label = "eV";                        $$ unit label

string long_description = "Electron Volts";      $$ long desc.

string short_description = "eV";                 $$ short desc.

int num_tables = 1;                              $$ no. tables

int tbl_app_flag = 0;                            $$ table no.

int tbl_app_oper = 0;                            $$ operations

};

struct Unit2 {

$--------------------UNITS 02-----------------------------------------

int id = 2;                                      $$ units id

float min = 1.0;                                 $$  min/max

float max = 6.0e6;                               $$  min/max

int unit_scaling = 2;                            $$ lin/log

string unit_label = ">c/acc";                    $$ unit label

string long_description = "Raw counts/acc";      $$ long desc.

string short_description = ">c/acc";             $$ short desc.

int num_tables = 1;                              $$ no. tables

int tbl_app_flag = 1;                            $$ table no.

int tbl_app_oper = 0;                            $$ operations

};

struct Unit3 {

$--------------------------UNIT 03-----------------------------------

int id = 4;                                      $$ unit id

float min = 1.0;                                 $$ min/max

float max = 10000.0;                             $$ min/max

int unit_scaling = 2;                            $$ lin/log

string unit_label = "cnts/sec";                  $$ unit label

string long_description = "counts/sec";          $$ long desc.

string short_description = "#/sec";              $$ short desc.

int num_tables = 1;                              $$ no. tables

int tbl_app_flag = 1;                            $$ table no.

int tbl_app_oper = 150;                          $$ operations

};

$************************************************************************

int num_sensors = 16;                                $$ no. sensors

struct Sensor0 {

$----------------------SENSOR 00---------------------------------------

string name = "MEDUSA Electron -sector 0";       $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 0;                         $$ pidf sen no

int vidf_sensor_num = 0;                         $$ sen vidf no

int group_num = 0;                               $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor1 {

$----------------------SENSOR 01---------------------------------------

string name = "MEDUSA Electron -sector 1";       $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 1;                         $$ pidf sen no

int vidf_sensor_num = 1;                         $$ sen vidf no

int group_num = 1;                               $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor2 {

$----------------------SENSOR 02---------------------------------------

string name = "MEDUSA Electron -sector 2";       $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 2;                         $$ pidf sen no

int vidf_sensor_num = 2;                         $$ sen vidf no

int group_num = 2;                               $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor3 {

$----------------------SENSOR 03---------------------------------------

string name = "MEDUSA Electron -sector 3";       $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 3;                         $$ pidf sen no

int vidf_sensor_num = 3;                         $$ sen vidf no

int group_num = 3;                               $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor4 {

$----------------------SENSOR 04---------------------------------------

string name = "MEDUSA Electron -sector 4";       $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 4;                         $$ pidf sen no

int vidf_sensor_num = 4;                         $$ sen vidf no

int group_num = 4;                               $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor5 {

$----------------------SENSOR 05---------------------------------------

string name = "MEDUSA Electron -sector 5";       $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 5;                         $$ pidf sen no

int vidf_sensor_num = 5;                         $$ sen vidf no

int group_num = 5;                               $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                              $$ unit no.

int unit_number = 2;                              $$ unit no.

};

struct Sensor6 {

$----------------------SENSOR 06---------------------------------------

string name = "MEDUSA Electron -sector 6";       $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 6;                         $$ pidf sen no

int vidf_sensor_num = 6;                         $$ sen vidf no

int group_num = 6;                               $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor7 {

$----------------------SENSOR 07---------------------------------------

string name = "MEDUSA Electron -sector 7";       $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 7;                         $$ pidf sen no

int vidf_sensor_num = 7;                         $$ sen vidf no

int group_num = 7;                               $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor8 {

$----------------------SENSOR 08---------------------------------------

string name = "MEDUSA Electron -sector 8";       $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 8;                         $$ pidf sen no

int vidf_sensor_num = 8;                         $$ sen vidf no

int group_num = 8;                               $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor9 {

$----------------------SENSOR 09---------------------------------------

string name = "MEDUSA Electron -sector 9";       $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 9;                         $$ pidf sen no

int vidf_sensor_num = 9;                         $$ sen vidf no

int group_num = 9;                               $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan inf

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor10 {

$----------------------SENSOR 10---------------------------------------

string name = "MEDUSA Electron -sector 10";      $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 10;                        $$ pidf sen no

int vidf_sensor_num = 10;                        $$ sen vidf no

int group_num = 10;                              $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor11 {

$----------------------SENSOR 11---------------------------------------

string name = "MEDUSA Electron -sector 11";      $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 11;                        $$ pidf sen no

int vidf_sensor_num = 11;                        $$ sen vidf no

int group_num = 11;                              $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor12 {

$----------------------SENSOR 12---------------------------------------

string name = "MEDUSA Electron -sector 12";      $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 12;                        $$ pidf sen no

int vidf_sensor_num = 12;                        $$ sen vidf no

int group_num = 12;                              $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor13 {

$----------------------SENSOR 13---------------------------------------

string name = "MEDUSA Electron -sector 13";      $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 13;                        $$ pidf sen no

int vidf_sensor_num = 13;                        $$ sen vidf no

int group_num = 13;                              $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor14 {

$----------------------SENSOR 14---------------------------------------

string name = "MEDUSA Electron -sector 14";      $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 14;                        $$ pidf sen no

int vidf_sensor_num = 14;                        $$ sen vidf no

int group_num = 14;                              $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

struct Sensor15 {

$----------------------SENSOR 15---------------------------------------

string name = "MEDUSA Electron -sector 15";      $$ sensor name

string component = "N/A";                        $$ comp name

char source = 'V';                               $$ source (VS)

string scf_filename = "N/A";                     $$ not appl

char pitch_angle_flag = 'N';                     $$ pa calc def

int pidf_sensor_num = 15;                        $$ pidf sen no

int vidf_sensor_num = 15;                        $$ sen vidf no

int group_num = 15;                              $$ sen gp no.

int display_flag = 1;                            $$ display bit

int scan_block_info = 0;                         $$ scan info

int num_units = 3;                               $$ no. units

int unit_number = 0;                             $$ unit no.

int unit_number = 3;                             $$ unit no.

int unit_number = 2;                             $$ unit no.

};

$**********************************************************************

int num_scan = 2;                                    $$ num scan

struct Scan0 {

$----------------------SCAN BLOCK 00----------------------------------

int scan_block_num = 0;                          $$ block num

$       int num_units = 3;                               $$ num units

int num_units = 2;                               $$ num units

struct ScanUnit0 {

char spacing = 'I';                          $$ raw sweep

int units_index = 0;                         $$ raw sweep

};

struct ScanUnit1 {

char spacing = 'L';                          $$ center eV

int units_index = 1;                         $$ center eV

};

$        struct ScanUnit2 {

$            char spacing = 'V';                         $$ energy band

$            int units_index = 22;                       $$ energy band

$            char bin_location = 'C';                    $$ energy band

$            int var_units = 24;                         $$ energy band

$        };

};

struct Scan1 {

$----------------------SCAN BLOCK 01----------------------------------

int scan_block_num = 1;                          $$ block num

$       int num_units = 3;                               $$ num units

int num_units = 2;                               $$ num units

struct ScanUnit0 {

char spacing = 'I';                          $$ raw sweep

int units_index = 0;                         $$ raw sweep

};

struct ScanUnit1 {

char spacing = 'L';                          $$ center eV

int units_index = 1;                         $$ center eV

};

$       struct ScanUnit2 {

$           char spacing = 'V';                          $$ energy bands

$           int units_index = 23;                        $$ energy band

$           char bin_location = 'C';                     $$ energy band

$           int var_units = 25;                          $$ energy band

$       };

};

$**********************************************************************

}